## Load
IK04-38 Alternative Energy Planner, Example--LOADS |  | S265 09 1110
Electrical devices | Watts | Hours per day | Watt hrs. used per day
Laptop | 40 | 3 | 120
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
Power if all devices are turned on at the same time: | 40
Total watt hours per day: | 120

## PV Cost
IK04-38 Alternative Energy Planner, Example--SOLAR |  | S265 09 1110
Costs
Watt hours per day from load calculation sheet: | 120
Worst-case kWh per month for 1 kW panel: | 131
kWh per year for 1 kW panel | 1651
Minimum size of solar panel (in watts) needed to produce the needed watt hours in one day based on worst-case production. | 27.8473
Size of solar panel that will be purchased, in watts: | 36
Worst-case watt hours per day generated by this panel: | 155.1311
kWh per year generated by this panel. | 59.436
Cost of the solar panel: |  | 200
Days-worth of energy to be stored in the battery: | 2
Battery efficiency: | 90%
Minimum size of 12-volt battery needed, in amp-hours: | 28.728
Size of battery that will be purchased, in amp-hours: | 100
Cost of the battery: |  | 60
Watts if all devices turned on simultaneously (from load calculation sheet) | 40
Size of inverter to be purchased, in watts | 175
Cost of the inverter |  | 25
Panel rack |  | 12
Other components
Nuts and bolts |  | 5
| Total cost | 302

## Wind Cost
IK04-38 Alternative Energy Planner, Example--WIND |  | S265 09 1110
Costs
Watt hours per day from load calculation sheet: | 120
Worst-case kWh per month for 3kW turbine | 11.9
kWh per year for 3kW turbine | 350
Minimum size of wind turbine needed to produce the worst-case watt hours in one day: | 919.6639
Size of turbine that will be purchased, in watts: | 150
Worst-case watt hours per day generated by this turbine. | 19.5724
kWh per year generated by this turbine. | 17.5
Cost of the turbine |  | 200
Days-worth of energy to be stored in the battery: | 2
Battery efficiency: | 90%
Minimum size of 12-volt battery needed, in amp-hours: | 3.6245
Size of battery that will be purchased, in amp-hours: | 10
Cost of the battery: |  | 40
Watts if all devices turned on simultaneously (from load calculation sheet) | 40
Size of inverter to be purchased, in watts | 175
Cost of the inverter |  | 25
Other components
| Total cost | 265

## % Return
IK04-38 Alternative Energy Planner, Example--RETURN ON INVESTMENT | [5 empty] | S265 09 1110
Values from PV Cost and Wind Cost spreadsheets:
Photovoltaic system cost |  |  |  |  | 302
Photovoltaic kWh generated per year |  |  |  |  | 59.436
Wind system cost |  |  |  |  | 265
Wind kWh generated per year |  |  |  |  | 17.5
Total cost (solar + wind) |  |  |  |  | 567
Total kWh generated per year (solar + wind) |  |  |  |  | 76.936
Cost of system to be investigated |  |  |  |  | 302
kWh generated per year |  |  |  |  | 59
Cost per kWh from power company |  |  |  |  | 0.091
Year Number | Money earned from the equipment | Annual return on investment in the equipment | Money earned from equipment since its purchase | Profit since purchase of equipment | Payback period, years
1 | 5.369 | 1.778% | 5.369 | -296.631
2 | 5.369 | 1.778% | 10.738 | -291.262
3 | 5.369 | 1.778% | 16.107 | -285.893
4 | 5.369 | 1.778% | 21.476 | -280.524
5 | 5.369 | 1.778% | 26.845 | -275.155
6 | 5.369 | 1.778% | 32.214 | -269.786
7 | 5.369 | 1.778% | 37.583 | -264.417
8 | 5.369 | 1.778% | 42.952 | -259.048
9 | 5.369 | 1.778% | 48.321 | -253.679
10 | 5.369 | 1.778% | 53.69 | -248.31
11 | 5.369 | 1.778% | 59.059 | -242.941
12 | 5.369 | 1.778% | 64.428 | -237.572
13 | 5.369 | 1.778% | 69.797 | -232.203
14 | 5.369 | 1.778% | 75.166 | -226.834
15 | 5.369 | 1.778% | 80.535 | -221.465
16 | 5.369 | 1.778% | 85.904 | -216.096
17 | 5.369 | 1.778% | 91.273 | -210.727
18 | 5.369 | 1.778% | 96.642 | -205.358
19 | 5.369 | 1.778% | 102.011 | -199.989
20 | 5.369 | 1.778% | 107.38 | -194.62
21 | 5.369 | 1.778% | 112.749 | -189.251
22 | 5.369 | 1.778% | 118.118 | -183.882
23 | 5.369 | 1.778% | 123.487 | -178.513
24 | 5.369 | 1.778% | 128.856 | -173.144
25 | 5.369 | 1.778% | 134.225 | -167.775
26 | 5.369 | 1.778% | 139.594 | -162.406
27 | 5.369 | 1.778% | 144.963 | -157.037
28 | 5.369 | 1.778% | 150.332 | -151.668
29 | 5.369 | 1.778% | 155.701 | -146.299
30 | 5.369 | 1.778% | 161.07 | -140.93
31 | 5.369 | 1.778% | 166.439 | -135.561
32 | 5.369 | 1.778% | 171.808 | -130.192
33 | 5.369 | 1.778% | 177.177 | -124.823
34 | 5.369 | 1.778% | 182.546 | -119.454
35 | 5.369 | 1.778% | 187.915 | -114.085
36 | 5.369 | 1.778% | 193.284 | -108.716
37 | 5.369 | 1.778% | 198.653 | -103.347
38 | 5.369 | 1.778% | 204.022 | -97.978
39 | 5.369 | 1.778% | 209.391 | -92.609
40 | 5.369 | 1.778% | 214.76 | -87.24
41 | 5.369 | 1.778% | 220.129 | -81.871
42 | 5.369 | 1.778% | 225.498 | -76.502
43 | 5.369 | 1.778% | 230.867 | -71.133
44 | 5.369 | 1.778% | 236.236 | -65.764
45 | 5.369 | 1.778% | 241.605 | -60.395
46 | 5.369 | 1.778% | 246.974 | -55.026
47 | 5.369 | 1.778% | 252.343 | -49.657
48 | 5.369 | 1.778% | 257.712 | -44.288
49 | 5.369 | 1.778% | 263.081 | -38.919
50 | 5.369 | 1.778% | 268.45 | -33.55
51 | 5.369 | 1.778% | 273.819 | -28.181
52 | 5.369 | 1.778% | 279.188 | -22.812
53 | 5.369 | 1.778% | 284.557 | -17.443
54 | 5.369 | 1.778% | 289.926 | -12.074
55 | 5.369 | 1.778% | 295.295 | -6.705
56 | 5.369 | 1.778% | 300.664 | -1.336
57 | 5.369 | 1.778% | 306.033 | 4.033 | 57
58 | 5.369 | 1.778% | 311.402 | 9.402
59 | 5.369 | 1.778% | 316.771 | 14.771
60 | 5.369 | 1.778% | 322.14 | 20.14
61 | 5.369 | 1.778% | 327.509 | 25.509
62 | 5.369 | 1.778% | 332.878 | 30.878
63 | 5.369 | 1.778% | 338.247 | 36.247
64 | 5.369 | 1.778% | 343.616 | 41.616
65 | 5.369 | 1.778% | 348.985 | 46.985
66 | 5.369 | 1.778% | 354.354 | 52.354
67 | 5.369 | 1.778% | 359.723 | 57.723
68 | 5.369 | 1.778% | 365.092 | 63.092
69 | 5.369 | 1.778% | 370.461 | 68.461
70 | 5.369 | 1.778% | 375.83 | 73.83
71 | 5.369 | 1.778% | 381.199 | 79.199
72 | 5.369 | 1.778% | 386.568 | 84.568
73 | 5.369 | 1.778% | 391.937 | 89.937
74 | 5.369 | 1.778% | 397.306 | 95.306
75 | 5.369 | 1.778% | 402.675 | 100.675
76 | 5.369 | 1.778% | 408.044 | 106.044
77 | 5.369 | 1.778% | 413.413 | 111.413
78 | 5.369 | 1.778% | 418.782 | 116.782
79 | 5.369 | 1.778% | 424.151 | 122.151
80 | 5.369 | 1.778% | 429.52 | 127.52
81 | 5.369 | 1.778% | 434.889 | 132.889
82 | 5.369 | 1.778% | 440.258 | 138.258
83 | 5.369 | 1.778% | 445.627 | 143.627